| Use of ESRI GIS Technology |
| --- |
| ESRI Software Please identify the ESRI technology that is used to access the CMMS data or integrate with CMMS | Currently Use Use Yes to indicate use | Plan to Use in Future | Notes Add any clarifying notes |
| ArcGIS |  |  |  |
| ArcInfo 8.2 | Yes |  | Available from Life Cycle Solutions (LCS) |
| ArcEditor | Yes |  | Available from LCS |
| ArcView 8.x | Yes |  |  |
| ArcSDE | Yes |  | Available from LCS |
| ArcGIS Extensions | Yes |  | Available from LCS |
| ArcGIS Spatial Analyst |  |  |  |
| Arc3D Analyst |  |  |  |
| ArcGIS Geostatistical Analyst |  |  |  |
| Arc GIS Publisher |  |  |  |
| ArcGIS StreetMap USA |  |  |  |
| ArcPress for ArcGIS |  |  |  |
| MrSID Encoder for ArcGIS |  |  |  |
| ArcGIS Data Models |  |  |  |
| Administrative Boundaries |  |  | Available from LCS |
| Basemap |  |  | Available from LCS |
| Electric Distribution |  |  | Available from LCS |
| Environmental Facilities |  |  | Available from LCS |
| Gas Distribution Model |  |  | Available from LCS |
| Land Parcel Model |  |  | Available from LCS |
| Telecommunication Model |  |  | Available from LCS |
| Transportation Model |  |  | Available from LCS |
| Water Utilities |  |  | Available from LCS |
| Developer Tools |  |  |  |
| ArcObjects | Yes |  | Available from LCS |
| Map Objects—Java Standard Edition | Yes |  | Available from LCS |
| MapObject—Windows Edition | Yes |  | Available from LCS |
| MapObjects LT | Yes |  | Available from LCS |
| NetEngin | Yes |  | Available from LCS |
| Field GIS |  |  |  |
| ArcPad | Yes |  | Available from LCS |
| ArcPad Application Builder | Yes |  | Available from LCS |
| Internet Solutions |  |  |  |
| ArcIMS | Yes |  | Available from LCS |
| GIS Web Services | Yes |  | Available from LCS |
| Older ESRI Technology |  |  |  |
| ArcInfo 7.x |  |  |  |
| ArcView 3.x | Yes | No |  |

| GIS / CMMS Functions | Function Availability | Notes or Comments |
| --- | --- | --- |
| Locating Work Orders |  |  |
| The user can develop a work order that is attached to a specific facility shown on a map of the utility. The user must be able to select the utility feature on a display of the utility map. | Yes |  |
| The user can locate a work order on a map by an address. | Yes |  |
| The user can develop and locate a work order with a point on a map. The point does not have to be associated to a map feature of a utility facility. | Yes |  |
| The user can locate all other work orders on a map displayed within a user specified distance from the following: |  |  |
| A point picked by the user | Yes | Available from LCS |
| A utility feature picked by the user | Yes | Available from LCS |
| A set of utility features picked by the user | Yes | Available from LCS |
| An existing work order | Yes | Available from LCS |
| The user can select an area on the display of the utility map and the system will display all work orders contained within the area. | Yes |  |
| Selecting Work Order |  |  |
| The user can select the type of work orders that will be displayed on a utility map display or printed in a utility map based on the following: |  |  |
| Status of a work order such as pending, open, or closed work orders. | Yes |  |
| Type of work orders such as planned maintenance or emergency work orders. | Yes | Available in EMPAC |
| Age of work orders | Yes | Available in EMPAC |
| Date of work orders | Yes | Available in EMPAC |
| Work orders completed within a date range | Yes | Available in EMPAC |
| Work orders completed by a specific crew | Yes | Available in EMPAC |
| Work orders that have a cost within a user specified range | Yes | Available in EMPAC |
| Combinations of all the above factors |  |  |
| Locating Facilities |  |  |
| The user can select a work order and the system will show the location of the facilities on a display of the utility map. The map display scale and display area will be adjusted to present the facilities in the selected work order in the center of the screen and at a readable scale. | Yes |  |
| The user can select a group of work orders and the system will show the location of all facilities in all of the selected work orders. | Yes |  |
| The user can specify an address and the system will show the utility features that serve the address. | Yes | Available from LCS |
| The user can locate all utility features that are within a specified distance of an address. | Yes | Available from LCS |
| The user can locate all other utilities within a specified distance of a selected facility or work order. | Yes | Available from LCS |
| Identifying Utility Feature Characteristics |  |  |
| The user can determine the following characteristics of all facilities in the vicinity of the work order that can be included in a work order |  |  |
| Size of facility | Yes | Available from LCS |
| Age of facility | Yes | Available from LCS |
| Facility material | Yes | Available from LCS |
| Depth of facility | Yes | Available from LCS |
| Type of ground surface above an underground facility | Yes | Available from LCS |
| Past work orders associated with the facility | Yes | Available from LCS |
| Mange Work Crews |  |  |
| The user can use the system to route work crews to work orders | Yes | Available in EMPAC |
| The user can use the system to schedule or assign work orders to work crews | Yes | Available in EMPAC |
| The user can identify the work crews that are assigned to work in an area or near a selected address or point. | Yes | Available in EMPAC |
| Provide Network Tracing |  |  |
| The user can identify all sewer that are upstream of a work order | Yes | Available from LCS |
| The user can identify all sewer that are downstream of a work order | Yes | Available from LCS |
| The user can identify the customers that are in the area served by a sewer affected by a work order | Yes | Available from LCS |
| Provide Water Main Isolation Management |  |  |
| The user can locate all valves that must be closed in order to isolate a water system facility | Yes | Available from LCS |
| The user can identify all the customers that will be affected by the closure of a water system facility such as a water main, system valve, a water pump station or a water reservoir. | Yes | Available from LCS |
| The user can locate the water valves that must be close to isolate a fire hydrant | Yes | Available from LCS |
| The location of an address is based on address ranges on a street base map | Yes | Available from LCS |
| The user can specify the type, status and age of the work orders to be mapped | Yes | Available from LCS |

| Other Key Features |
| --- |
| 1 | The EMPAC product is built using open API’s that supports integration to GIS tools. This flexible, open architecture enables GIS and CMMS integration. |
| 2 | Other key features include: Create work requests, Display work order history |
| 3 |  |
| 4 |  |
| 5 |  |
| 6 |  |
| 7 |  |
| 8 |  |
| 9 |  |
| 10 |  |

| Software System | Indus International & ESRI |
| --- | --- |
| CMMS Used | EMPAC |
| Author Completing these Tables | Laura May |
| Date | 6/19/02 |